## Data
2024-05-25_16-02_data.xlsx | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm)
Time (seconds) | 10-01 | 10-02 | 10-03 | 10-04 | 10-05 | 10-06 | 10-07 | 10-10 | 11-10 | 12-10 | 13-10 | 14-07 | 15-07 | 16-07 | 17-07 | 18-07 | 18-12 | 18-13 | 18-14 | 18-15 | 30-11 | 31-11 | 32-11 | 10-01 | 10-02 | 10-03 | 10-04 | 10-05 | 10-06 | 10-07 | 10-10 | 11-10 | 12-10 | 13-10 | 14-07 | 15-07 | 16-07 | 17-07 | 18-07 | 18-12 | 18-13 | 18-14 | 18-15 | 30-11 | 31-11 | 32-11 | 28-12 | 28-13 | 28-14 | 28-15 | 28-07 | 28-08 | 28-09 | 28-10 | 28-11 | 32-07 | 32-08 | 32-09 | 32-10 | 32-11 | 32-12 | 32-13 | 32-14 | 32-15 | 23-07 | 23-08 | 23-09 | 23-10 | 23-11 | 23-12 | 23-13 | 23-14 | 23-15 | 18-10 | 18-11 | 18-12 | 18-13 | 18-14 | 18-15 | 18-08 | 18-09 | 18-01 | 18-02 | 18-03 | 18-04 | 18-05 | 18-06 | 18-07 | 14-08 | 14-09 | 14-10 | 14-11 | 14-12 | 14-13 | 14-14 | 14-15 | 11-05 | 12-05 | 13-05 | 15-07 | 16-07 | 17-07 | 13-10 | 14-01 | 14-02 | 14-03 | 14-04 | 14-05 | 14-06 | 14-07 | 10-10 | 10-11 | 10-12 | 10-13 | 10-14 | 10-15 | 11-10 | 12-10 | 10-01 | 10-02 | 10-03 | 10-04 | 10-05 | 10-06 | 10-07 | 05-01 | 05-02 | 05-03 | 05-04 | 05-05 | 05-06 | 05-07 | 05-01 | 05-02 | 05-03 | 05-04 | 05-05 | 05-06 | 05-07 | 10-01 | 10-02 | 10-03 | 10-04 | 10-05 | 10-06 | 10-07 | 10-10 | 10-11 | 10-12 | 10-13 | 10-14 | 10-15 | 11-10 | 12-10 | 13-10 | 14-08 | 14-09 | 14-10 | 14-11 | 14-12 | 14-13 | 14-14 | 14-15 | 14-01 | 14-02 | 14-03 | 14-04 | 14-05 | 14-06 | 14-07 | 18-01 | 18-02 | 18-03 | 18-04 | 18-05 | 18-06 | 18-07 | 28-12 | 28-13 | 28-14 | 28-15 | 28-07 | 28-08 | 28-09 | 28-10 | 28-11 | 32-07 | 32-08 | 32-09 | 32-10 | 32-11 | 32-12 | 32-13 | 32-14 | 32-15 | 23-07 | 23-08 | 23-09 | 23-10 | 23-11 | 23-12 | 23-13 | 23-14 | 23-15 | 18-10 | 18-11 | 18-12 | 18-13 | 18-14 | 18-15 | 18-08 | 18-09 | 11-07 | 12-07 | 13-07 | 11-05 | 12-05 | 13-05 | 15-07 | 16-07 | 17-07
40 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.0039376 | 0.006846 | 0.0025348 | 0.0052474 | 0.0049449 | 0.1129 | 0.0009678 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 3.4876 | 6.0636 | 2.2451 | 4.6477 | 4.3798 | 100 | 0.8572 | 23.6465 | 23.2521 | 22.7731 | 22.863 | 23.1124 | 22.8151 | 22.8151 | 22.8151 | 22.8151 | 23.4773 | 23.2461 | 23.1933 | 23.1529 | 22.9835 | 23.3816 | 23.4107 | 23.2427 | 23.2826 | 23.0327 | 22.9745 | 22.7458 | 23.2892 | 22.6856 | 22.6928 | 22.797 | 23.0394 | 22.9784 | 22.8599 | 22.8204 | 23.0999 | 23.3942 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.3518 | 23.9976 | 23.1655 | 23.2069 | 23.1111 | 23.0632 | 23.1788 | 23.1788 | 23.1788 | 23.7354 | 23.4094 | 23.3734 | 23.386 | 23.386 | 23.386 | 22.8721 | 23.0451 | 23.0451 | 23.0451 | 23.0451 | 23.0451 | 23.0451 | 23.0451 | 23.0451 | 23.0451 | 23.3932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.0041252 | 0.0068909 | 0.002364 | 0.0060636 | 0.0057061 | 0.1129 | 0.0014326 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 3.6538 | 6.1034 | 2.0938 | 5.3706 | 5.054 | 100 | 1.2689 | 23.7182 | 23.3015 | 22.8092 | 22.9078 | 23.1622 | 22.859 | 22.859 | 22.859 | 22.859 | 23.5486 | 23.306 | 23.2505 | 23.2181 | 23.0447 | 23.435 | 23.4901 | 23.3167 | 23.3699 | 23.0325 | 22.9928 | 22.7905 | 23.3013 | 22.7024 | 22.7025 | 22.8353 | 23.06 | 23.0094 | 22.89 | 22.8645 | 23.1477 | 23.4832 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 23.4149 | 24.0703 | 23.2263 | 23.2873 | 23.1452 | 23.1082 | 23.2263 | 23.2263 | 23.2263 | 23.855 | 23.4762 | 23.454 | 23.4416 | 23.4416 | 23.4416 | 22.8754 | 23.0808 | 23.0808 | 23.0808 | 23.0808 | 23.0808 | 23.0808 | 23.0808 | 23.0808 | 23.0808 | 23.4201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1680 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0