## Data
2023-12-01_13-00_data.xlsx | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Airflow (m^3/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Air Velocity (m/s) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Temperature (C) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm) | Gas (ppm)
Time (seconds) | 09-01 | 09-02 | 09-03 | 09-04 | 09-05 | 09-06 | 09-07 | 10-11 | 11-11 | 12-11 | 13-11 | 14-06 | 15-06 | 16-06 | 17-06 | 18-06 | 18-12 | 18-13 | 18-14 | 18-15 | 30-11 | 31-11 | 32-11 | 09-01 | 09-02 | 09-03 | 09-04 | 09-05 | 09-06 | 09-07 | 10-11 | 11-11 | 12-11 | 13-11 | 14-06 | 15-06 | 16-06 | 17-06 | 18-06 | 18-12 | 18-13 | 18-14 | 18-15 | 30-11 | 31-11 | 32-11 | 29-12 | 29-13 | 29-14 | 29-15 | 29-07 | 29-08 | 29-09 | 29-10 | 29-11 | 32-07 | 32-08 | 32-09 | 32-10 | 32-11 | 32-12 | 32-13 | 32-14 | 32-15 | 24-07 | 24-08 | 24-09 | 24-10 | 24-11 | 24-12 | 24-13 | 24-14 | 24-15 | 18-10 | 18-11 | 18-12 | 18-13 | 18-14 | 18-15 | 18-08 | 18-09 | 18-01 | 18-02 | 18-03 | 18-04 | 18-05 | 18-06 | 18-07 | 14-08 | 14-09 | 14-10 | 14-11 | 14-12 | 14-13 | 14-14 | 14-15 | 11-05 | 12-05 | 13-05 | 15-07 | 16-07 | 17-07 | 13-10 | 14-01 | 14-02 | 14-03 | 14-04 | 14-05 | 14-06 | 14-07 | 10-10 | 10-11 | 10-12 | 10-13 | 10-14 | 10-15 | 11-10 | 12-10 | 10-01 | 10-02 | 10-03 | 10-04 | 10-05 | 10-06 | 10-07 | 05-01 | 05-02 | 05-03 | 05-04 | 05-05 | 05-06 | 05-07 | 05-01 | 05-02 | 05-03 | 05-04 | 05-05 | 05-06 | 05-07 | 10-01 | 10-02 | 10-03 | 10-04 | 10-05 | 10-06 | 10-07 | 10-10 | 10-11 | 10-12 | 10-13 | 10-14 | 10-15 | 11-10 | 12-10 | 13-10 | 14-08 | 14-09 | 14-10 | 14-11 | 14-12 | 14-13 | 14-14 | 14-15 | 14-01 | 14-02 | 14-03 | 14-04 | 14-05 | 14-06 | 14-07 | 18-01 | 18-02 | 18-03 | 18-04 | 18-05 | 18-06 | 18-07 | 29-12 | 29-13 | 29-14 | 29-15 | 29-07 | 29-08 | 29-09 | 29-10 | 29-11 | 32-07 | 32-08 | 32-09 | 32-10 | 32-11 | 32-12 | 32-13 | 32-14 | 32-15 | 24-07 | 24-08 | 24-09 | 24-10 | 24-11 | 24-12 | 24-13 | 24-14 | 24-15 | 18-10 | 18-11 | 18-12 | 18-13 | 18-14 | 18-15 | 18-08 | 18-09 | 11-07 | 12-07 | 13-07 | 11-05 | 12-05 | 13-05 | 15-07 | 16-07 | 17-07
14 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.0040033 | 0.0050578 | 0.00098463 | 0.0021133 | 0.0043544 | 0.1129 | 0.00093472 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 3.5458 | 4.4798 | 0.8721 | 1.8718 | 3.8568 | 100 | 0.8279 | 15.5319 | 15.1485 | 14.5616 | 13.7889 | 14.4512 | 14.2555 | 14.2555 | 14.2555 | 14.2555 | 14.2555 | 15.6332 | 15.5324 | 15.998 | 16.0205 | 16.6534 | 16.6091 | 15.6368 | 14.9639 | 14.2448 | 14.7298 | 14.7928 | 15.0629 | 13.8427 | 14.6909 | 14.3476 | 14.7016 | 13.9812 | 12.8046 | 13.2358 | 14.9705 | 14.8256 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 14.4432 | 12.9003 | 12.215 | 11.9508 | 11.9897 | 12.7325 | 12.7002 | 12.7002 | 12.7002 | 17.0084 | 16.9097 | 15.9011 | 17.5491 | 17.5491 | 17.5491 | 14.8937 | 14.4792 | 14.4792 | 14.4792 | 14.4792 | 14.4792 | 14.4792 | 14.4792 | 14.4792 | 14.4792 | 13.8725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 580
25 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.0040033 | 0.0050578 | 0.00098463 | 0.0021133 | 0.0043544 | 0.1129 | 0.00093472 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.1129 | 0.0034019 | 0.0051507 | 0.0017029 | 0.0036023 | 0.0039946 | 0.1129 | 0.00061058 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 3.0131 | 4.5621 | 1.5083 | 3.1906 | 3.5381 | 100 | 0.5408 | 15.5256 | 15.162 | 14.5643 | 13.8027 | 14.4605 | 14.2665 | 14.2665 | 14.2665 | 13.9892 | 14.8504 | 15.6364 | 15.5454 | 16.0049 | 16.0413 | 16.6704 | 16.5885 | 15.628 | 14.958 | 14.2416 | 14.7295 | 14.8118 | 15.0547 | 13.8454 | 14.6854 | 14.3512 | 14.7066 | 13.9884 | 12.8152 | 13.237 | 14.9736 | 14.8172 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 14.4737 | 12.922 | 12.2123 | 11.938 | 11.9985 | 12.7017 | 12.6962 | 12.6962 | 12.6962 | 17.0219 | 16.9584 | 15.8819 | 17.5445 | 17.5445 | 17.5445 | 14.8975 | 14.4748 | 14.4748 | 14.4748 | 14.4748 | 14.4748 | 14.4748 | 14.4748 | 14.4748 | 14.4748 | 13.8437 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1620 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 460